## Report Info
Contents - VA PG-18-5 Department of Veterans Affairs VETERANS CANTEEN SERVICE (VCS) (206) Workshop Report Generated: 15 Mar 2022 10:50AM ET

## VETERANS CANTEEN SERVICE (VCS)
VETERANS CANTEEN SERVICE (VCS) (206) | VETERANS CANTEEN SERVICE (VCS) (206) | VETERANS CANTEEN SERVICE (VCS) (206) | VETERANS CANTEEN SERVICE (VCS) (206) | VETERANS CANTEEN SERVICE (VCS) (206)
1 - COFFEE SHOP AREA | 1 - COFFEE SHOP AREA | 1 - COFFEE SHOP AREA | 1 - COFFEE SHOP AREA | 1 - COFFEE SHOP AREA
2 - SV627 - Coffee Shop Storage Room, VC Svc | 2 - SV627 - Coffee Shop Storage Room, VC Svc | 2 - SV627 - Coffee Shop Storage Room, VC Svc | 2 - SV627 - Coffee Shop Storage Room, VC Svc | 2 - SV627 - Coffee Shop Storage Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
3 - SV628 - Coffee Shop Seating Area, VC Svc | 3 - SV628 - Coffee Shop Seating Area, VC Svc | 3 - SV628 - Coffee Shop Seating Area, VC Svc | 3 - SV628 - Coffee Shop Seating Area, VC Svc | 3 - SV628 - Coffee Shop Seating Area, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 3 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
F0210 | Chair, Side, Without Arms | 16 | VV | Upholstered side chair approximately 32" high X 19" wide X 23" deep with floor glides. Seat is non-tilting and without arms.
F0795 | Table, Dining | 4 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
2 - OPTICAL SHOP AREA | 2 - OPTICAL SHOP AREA | 2 - OPTICAL SHOP AREA | 2 - OPTICAL SHOP AREA | 2 - OPTICAL SHOP AREA
1 - CEY91 - Optical Fitting Area Eyeglass Fitting / Dispensing Room, Eye Clnc | 1 - CEY91 - Optical Fitting Area Eyeglass Fitting / Dispensing Room, Eye Clnc | 1 - CEY91 - Optical Fitting Area Eyeglass Fitting / Dispensing Room, Eye Clnc | 1 - CEY91 - Optical Fitting Area Eyeglass Fitting / Dispensing Room, Eye Clnc | 1 - CEY91 - Optical Fitting Area Eyeglass Fitting / Dispensing Room, Eye Clnc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
A1066 | Mirror, Float Glass, With SS Frame | 1 | CC | A high quality 1/4" polished float glass mirror 36X18, framed in a one-piece, bright polished, stainless steel channel frame with 90° mitered corners. All edges of the mirror are protected by absorbing filler strips. Mirror has a galvanized steel back with integral horizontal hanging brackets and wall hanger for concealed mounting. For mounting above single wall mounted lavatories located in toilet areas, Doctors examination offices, etc. May also be used above double lavatories, either wall or countertop mounted, found in restroom areas.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
E0906 | Locker, Supply, General, Wall Mtd, 23"W x 20"D | 2 | VV | THIS TYPICAL INCLUDES: 1 Wall Mounted Rail 1 Locked Storage Container 2 Tray/Shelves 1 Drawer, 3"H 3 Drawers, 6"H 2 Drawers, 9"H 1 Tray/Shelf Divider Drawer Organizer Bins Consider the need for an E0921 to transport the locker from place to place.
E0912 | Locker, Supply, Med Surg, Wall Mtd | 2 | VV | Medical/Surgical Supply locker, Wall Mounted, approximately 23"W x 20"D. THIS TYPICAL INCLUDES: 1 Wall Mounted Rail 1 Locked Storage Container 4 Tray/Shelves 5 Drawers, 3"H 2 Drawers, 6"H 2 Tray/Shelf Dividers Drawer Organizer Bins Consider the need for an E0921 to transport the locker from place to place.
E1500 | Rail, MOD, W/MNTD, HX144XD | 2 | VV | Wall mounted rail used for hanging (mounting) lockers, shelves and drawers on a wall.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0340 | Stool, Self Adjusting | 1 | VV | Self adjusting stool. Consists of a foam padded upholstered seat with attached foot rest for added comfort. Mounted on swivel casters. Designed for doctor's use during examinations.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M5520 | Lensometer | 1 | VV | Lensometer. Unit includes lamps, prism measuring lens marking device, cylinder axis wheel calibrated in two 180 degree segments and a green filter for tinted glass. The instrument may be inclined between 25 to 90 degrees. Used for measuring lens.
M5705 | Gauge, Distance, Pupillary | 1 | VV | Pupillary distance gauge. Unit is electronic and features corneal reflection, LCD display, 0.5mm measurement increments, and measure fixation PD distance to 30 cm from infinity. Unit runs on battery power and is designed to measure the distance between pupils as well as corneal and pupil diameter.
M5735 | Warmer, Spectacle, Plastic | 1 | VV | Plastic spectacle warmer. Bath type. Thermostatically controlled. For use with glass beads or salt.
P3100 | Lavatory, Vitreous China, Slab Type | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximate bowl size 7"x15"x10") with: faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care area.
2 - CEY93 - Optical Fitting Area Contact Lens Fitting / Dispensing, Eye Clnc | 2 - CEY93 - Optical Fitting Area Contact Lens Fitting / Dispensing, Eye Clnc | 2 - CEY93 - Optical Fitting Area Contact Lens Fitting / Dispensing, Eye Clnc | 2 - CEY93 - Optical Fitting Area Contact Lens Fitting / Dispensing, Eye Clnc | 2 - CEY93 - Optical Fitting Area Contact Lens Fitting / Dispensing, Eye Clnc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1017 | Telephone, Wall Mounted, Multi-Line, With Speaker | 1 | VV | Telephone, wall mounted, multi-line with speaker.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5077 | Dispenser, Hand Sanitizer, Hands-Free | 1 | VV | A touch free wall-mounted hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5225 | Bracket, Dual Computer Monitor, Desk-Mounted | 1 | VV | Desk-mounted bracket that supports two LCD computer monitors, or laptop and monitor configuration. Extends LCD's or labtop up to 25" with an adjustment range of 18". Desk clamp attaches to edge up to 2.6" thick. Maximum combined weight supported not to exceed 50 lbs.
E0210 | Worksurface, w/Overhead Cab, Wall Mtd, 48" W | 2 | VV | THIS TYPICAL INCLUDES: 2 Vertical Hanging Strips 1 Lockable Flipper Unit 1 Shelf, Storage/Display 1 Light 1 Cantilevered Work Surface
E0775 | Sink, w/Cabinet, Free Standing, 60"W x 24"D | 1 | CC | Sink unit consisting of: 1 Freestanding, Sink Adaptable Cabinet w/Integral Backsplash and with Corian Top.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0300 | Chair, Task, Swivel, With Arms | 2 | VV | Task chair, approximately 34" H X 26" W X 22" D with adjustable arms and a five caster adjustable swivel base. Seat and back are foam padded and upholstered in woven fabric or vinyl.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1800 | Monitor, Computer | 1 | VV | A high definition LED computer monitor with minimum 1920 x 1080 resolution, 4ms response time, 25 inch class display size, compatible with desk or arm mounted. Monitor is VESA compatible and Energy Star compliant.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 2 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1825 | Printer, Computer | 1 | VV | High resolution computer printer with a variety of type styles and sheet/envelope feeder trays. Database information reflects network ready, medium duty office style laser printers. Other types of printers (bubble jet, dot matrix, line or plotter) as well as light or heavy use capabilities are available.
M5010 | Desk, Fitting/Dispensing, Optical | 2 | VV | Fitting/dispensing optical desk. Cabinet section consists of one larger drawer at top with seven small tray drawers below or eight equal sized drawers. Top surface is made of durable high pressure plastic or wood. Specify cabinet section to be technician's right or left, color and finish. Many types of drawer dividers are available. Unit can be custom configured.
M5520 | Lensometer | 1 | VV | Lensometer. Unit includes lamps, prism measuring lens marking device, cylinder axis wheel calibrated in two 180 degree segments and a green filter for tinted glass. The instrument may be inclined between 25 to 90 degrees. Used for measuring lens.
M5525 | Lensometer, Soft Contact | 1 | VV | Soft contact lensometer. Unit features lens holder, external scale, prism holder, prism axis from 0 to 180 degree, external power, printer and axis readings with an American style cross-line target. Used for measuring soft and hard contact lenses as well as conventional spectacle lenses.
3 - SS204 - Optician / Technician Office, VC Svc | 3 - SS204 - Optician / Technician Office, VC Svc | 3 - SS204 - Optician / Technician Office, VC Svc | 3 - SS204 - Optician / Technician Office, VC Svc | 3 - SS204 - Optician / Technician Office, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - CEY95 - Optical Fitting Area Eyeglass Frame Storage Room, Eye Clnc | 4 - CEY95 - Optical Fitting Area Eyeglass Frame Storage Room, Eye Clnc | 4 - CEY95 - Optical Fitting Area Eyeglass Frame Storage Room, Eye Clnc | 4 - CEY95 - Optical Fitting Area Eyeglass Frame Storage Room, Eye Clnc | 4 - CEY95 - Optical Fitting Area Eyeglass Frame Storage Room, Eye Clnc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
5 - CEY97 - Optical Fitting Area Contact Lens Storage Room, Eye Clnc | 5 - CEY97 - Optical Fitting Area Contact Lens Storage Room, Eye Clnc | 5 - CEY97 - Optical Fitting Area Contact Lens Storage Room, Eye Clnc | 5 - CEY97 - Optical Fitting Area Contact Lens Storage Room, Eye Clnc | 5 - CEY97 - Optical Fitting Area Contact Lens Storage Room, Eye Clnc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
3 - BARBER / BEAUTY SHOP | 3 - BARBER / BEAUTY SHOP | 3 - BARBER / BEAUTY SHOP | 3 - BARBER / BEAUTY SHOP | 3 - BARBER / BEAUTY SHOP
1 - SV631 - Barber / Beauty Shop, VC Svc | 1 - SV631 - Barber / Beauty Shop, VC Svc | 1 - SV631 - Barber / Beauty Shop, VC Svc | 1 - SV631 - Barber / Beauty Shop, VC Svc | 1 - SV631 - Barber / Beauty Shop, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 2 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
CT020 | Countertop, Solid Surface | 6 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
E0042 | Workcenter, Computer, Free Standing, 48" W | 1 | VV | THIS TYPICAL INCLUDES: 1 Tool Rail 2 Paper Tray 1 Diagonal Tray 1 Freestanding Work Surface 1 Mobile Pedestal, Box/File 1 Adjustable Keyboard Tray
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0280 | Chair, Swivel, Low Back | 1 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F0320 | Chair, with Hair Dryer | 1 | VV | Salon dryer chair made of a wooden frame with padded cushions and durable arm rests. The Chair is covered with a vinyl-like material. The chair should fit most standard dryers. A standard dryer should have low/medium/high settings with a maximum of 145 degrees F. Dryer can be purchased separately (included as part of this JSN).
F0321 | Chair, Salon, Styling | 3 | VV | Salon chair made of high density polyurethane foam black cushions, armrests, foot rest, chrome steel frame and chrome stainless steel base. Chair has 360 degree swivel rotation with pneumatically adjustable height.
F0322 | Chair, Pedicure, w/ Foot Sink | 1 | CC | Upholstered Pedicure Chair with adjustable arms and pedicure basin tub. Basin is gravity drain and requires no plumbing. Chair should be adaptable for manicure treatment. Options may include recline or massage capability requiring electrical support.
F0737 | Table, Sideboard, w/ Storage | 1 | VV | Residential living table made with solid wood construction and hand finished. Table has 3-4 doors and/or 2-3 drawers for storage underneath the top, and approximate dimensions are 60 W x 15 D x 35 H. Typically positioned in a residential setting living room but could be used at the discretion of the facility.
F3070 | Case, Display | 1 | VV | Display case. Equipped with glass doors, adjustable glass shelves, security locks and choice of either fabric or mirror backing.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
P3600 | Sink, Shampoo, Porcelain | 1 | CC | High gloss porcelain wall mounted shampoo bowl for hair washing. Includes fixture, wall mount, spray nozzle with hose, strainer and water control fixture.
4 - VENDING AREA | 4 - VENDING AREA | 4 - VENDING AREA | 4 - VENDING AREA | 4 - VENDING AREA
1 - SV683 - Vending Machines, VC Svc | 1 - SV683 - Vending Machines, VC Svc | 1 - SV683 - Vending Machines, VC Svc | 1 - SV683 - Vending Machines, VC Svc | 1 - SV683 - Vending Machines, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A6030 | Machine, Vending | 2 | L_RE | This JSN is to be used for determining and defining the requirement for vending machines. Item is normally leased or supplied by Army & Air Force Exchange Service, (AAFES).
F0225 | Chair, Dining Room | 2 | VV | Dining room chair with glides. Chair has straight legs with cushioned cloth or vinyl seat.
F0795 | Table, Dining | 1 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
5 - CAFETERIA SERVING AREA | 5 - CAFETERIA SERVING AREA | 5 - CAFETERIA SERVING AREA | 5 - CAFETERIA SERVING AREA | 5 - CAFETERIA SERVING AREA
1 - SV674 - Cafeteria Serving Area, VC Svc | 1 - SV674 - Cafeteria Serving Area, VC Svc | 1 - SV674 - Cafeteria Serving Area, VC Svc | 1 - SV674 - Cafeteria Serving Area, VC Svc | 1 - SV674 - Cafeteria Serving Area, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
K0710 | Bin, Ingredient, Mobile, 250 Lb. Capacity | 1 | VV | Mobile ingredient bin. This unit has a 250 lb. capacity with a slide-off or lifting cover. The unit is constructed of stainless steel or durable plastic with 4 inch casters. A one piece rubber bumper encircles stainless steel models. This bin is used to store ingredients in commercial and institutional food service operations.
K0820 | Breader, Mobile, Manual | 1 | VV | Mobile breading machine. The unit is made of stainless steel and has a fully enclosed 1/4 HP motor to drive the sifter. Equipped with counter compartments, a storage bucket and heavy duty casters.
K1160 | Cabinet, Warming, Pass-Thru, CRS | 1 | VC | Mobile or stationary warming cabinet. This is a pass-through model with doors that can be opened from either side for easy use. The cabinet can have single or double Dutch doors on either or both sides. The unit has an exterior temperature gauge for easy monitoring. The cabinet has a slide in humidity pan or controlled humidity vents in the top of the cabinet. Some models run on 120V power, others on 208V. Refer to the manufacturers specification sheets. The database electrical specifications cover both possibilities. The unit is used in commercial and hospital kitchens for warming prepared food items.
K1710 | Counter, Cafeteria, Utility, W/Power 61x80x42 | 1 | VC | Mobile cafeteria counter. The counter can serve as a mobile utility table and has a double-shelf food display case with sneeze guard, a drop-type solid or three rail tray slide, 120V AC outlets, a work shelf, below the counter shelves and four 5-inch swivel casters. The end user must specify the outlet requirements and configuration. Multiple facility-level outlets may be required depending on the number of convenience outlets the end user requires. The database depth dimension does not include the fold down tray rail but does include the 8-10" working shelf on the server's side. This unit is used in commercial and hospital service areas.
K1750 | Counter, Cafeteria, Mobile, Utility | 1 | VV | Mobile cafeteria counter, approximately 36"H x 80"L x 32"D. The counter is made of stainless steel construction, has intermediate and bottom shelves on the working side, a drop-type solid or three rail tray slide and 5-inch swivel casters. The database depth does not include the depth of the tray slide. It is used for service of food items in hospitals and restaurants.
K1910 | Table, Work, Stainless Steel | 1 | VV | Work table approximately 36x120x30. The table is made of heavy duty stainless steel with all edges rolled down at 90 degrees. The edges are 2" high and have rounded corners. The table has stainless steel legs and a stainless steel under-shelf. The unit is used as a work station in large kitchens, hotels, restaurants and hospitals.
K2120 | Dispenser, Cup/Saucer, Unheated, Mobile, 4 Stack | 1 | VV | Mobile, unheated cup and saucer dispenser. The cabinet is made of stainless steel, is mounted on four casters and has a full perimeter strip bumper. The unit includes four self-leveling dispensing stacks which are sized to match or are self-adjusting to match the size of the dishware being stored. Heated units, units which hold less than four self-leveling dispensers and units which store larger dishes are also available. The facility's selection of dishware ultimately determines which exact model will be required. The unit is used for self-service of tableware in food service operations.
K2140 | Dispenser, Plate, Mobile, Heated, 4 Stack | 1 | VV | Mobile, heated dinner plate dispenser. The cabinet is made of stainless steel, is mounted on four heavy duty casters and has a full perimeter strip bumper. The unit includes four self-leveling dispensing stacks which are sized to match the size of the plates being stored. See JSN K2130 for an unheated 4 stack unit and JSN K2160 for a heated 2 stack unit. Heated and unheated units with other capacities are available. The database specifications refer to units which hold 10" plates. The facility's selection of dishware ultimately determines which exact model will be required. The unit is used to dispense plates in food service facilities, restaurants and hospitals.
K2150 | Dispenser, Drinking Glass, Mobile | 1 | VV | Mobile drinking glass dispenser. The unit is made of heavy gauge stainless steel, is enclosed on all four sides and mounted on four heavy duty casters. The unit stores racks filled with drinking glasses and holds the top rack at a constant dispensing height for customer convenience. Stationary units, units with open sides and cantilever style units are also available. This unit is used to dispense glasses in food service operations of hospitals and restaurants.
K2630 | Divider, Dough, Roll | 1 | VV | Roll dough divider. The unit features heavy duty cast iron construction for years of dependable service with stainless steel dividing pans and knives. The unit comes with 20 part dividing plates and has other dividing plate sizes available. The unit can handle up to 8 lbs. of dough at a time. The compact design uses a minimal amount of floor space. The database depth dimension does not include the length of the operating arm when it is pulled down.
K2800 | Fryer, Electric, 30 Lb. Capacity, Free Standing | 1 | CC | Two basket electric deep fat fryer. The unit is freestanding, holds 30-35 lb. of hot oil, has leveling legs, swing up or removable corrosion resistant heating elements, solid state or programmable controls, self-diagnostics, a backsplash and an electronic or thermostatic over-temperature shutoff. The basic unit has painted sides, an aluminized back and a stainless steel front and top; a full stainless steel enclosure is optional. Some models have automatic basket lifts. The database height dimension refers to a unit with its coils lifted for cleaning.
K3100 | Griddle, Electric, Counter Mounted, 36" Wide | 1 | CC | Electric griddle. The griddle has a 1/2 inch thick (or greater) steel heating surface, stands on legs on top of a counter, has a thermostat control for each linear foot of griddle and has a drippings channel which empties into a grease drawer for easy cleaning. The griddle has side and rear splash guards. Some manufacturers offer models of differing depths. The model chosen should match the supporting counter or table. The database specifications and pricing reflect a standard depth unit. The griddle is used for food preparation in commercial and institutional food service operations.
K3400 | Hood, Exhaust, Kitchen | 1 | CC | Stainless steel kitchen exhaust hood. The unit has removable grease filters for use over any area, is fabricated to dimensions as required, provides for forced upward air flow through a hood and the grease filter and can pull the exhaust down through a vent and dissipate it below the kitchen to an outside area with complete automatic grease extraction. The database reflects the requirements for a 12 foot wide unit. The database price does not include the filter elements. The database electrical requirements are for any light fixture that is part of the hood. The fan that draws the air from this unit is not part of this unit. This hood facilitates exhaust dissipation in commercial and institutional food service operations.
K4550 | Oven, Convection, Double, Electric, Free Standing | 1 | CC | Floor mounted double compartment electric convection oven. Each section of the oven has its separate heating elements, dual speed fan, window and controls. Each oven will operate from 150 degrees to 500 degrees Fahrenheit. Either oven compartment can be used as a single oven without requiring the second compartment to heat. Opening the oven doors turns off power to the heating elements and blower motor. The unit has stainless steel sides, front, top and legs. Some manufacturers offer extra deep models or models on casters. The database physical dimensions do not include the manufacturer's recommended clearances for proper ventilation; refer to each manufacturer's technical sheet. The oven is used for roasting, baking and general cooking in large restaurants and hospitals.
K4660 | Oven, Microwave, Heavy Duty, 1000 Watts | 1 | VV | Heavy duty, counter mounted, microwave oven which delivers 1000 watts of microwave energy for rapid reheating, defrosting or cooking. The unit's cabinet is made from stainless steel or other rugged material. The touchpad has programmable keys for timing the cooking of specific items and a multiple portion cooking time adjustment key. The unit features an electronic timer with a digital readout. Some models have an additional manual dial timer. The unit can be mounted in a cabinet recess or on a shelf.
K4665 | Oven, Microwave, Consumer | 1 | VV | Counter mounted microwave oven for average duty use. The exterior cabinet can be metal or heavy duty impact resistant plastic. The oven delivers instant energy for rapid heating, defrosting or prime cooking. The oven has touch pad controls, digital timer, power level selector and preprogrammed selectors for commonly cooked items. This oven is commonly found in staff lounges.
K6245 | Cabinet/Server, Heated, 2 Drawer/Compartment | 1 | VV | Two drawer hot food warmer and server with temperature control and full insulation. The unit may be mobile or counter mounted and requires a convenience outlet at point of use. It is used in hospital kitchens to keep hot foods warm prior to serving.
K7250 | Table, Food Preparation, CRS, Mobile | 2 | VV | Food preparation table approximately 36"H x 72"W x 36"D with a 5-6" stainless steel backsplash. This unit has options for heavy-duty casters with 5" hard rubber lockable wheels, under-shelves, stationary legs and storage drawers. Some models feature a removable backsplash, full or partial table replaceable plastic cutting boards, a decking section along the backsplash and tapered deck ends.
K8400 | Toaster, Conveyor, 600 Slices/Hr, Electric | 1 | VV | Conveyor toaster. This unit can toast up to 600 slices/hour. Some models use quartz heaters rather than resistive wire elements. The color of the toast is adjusted by varying the conveyor belt speed. This unit is used in large food service operations, for fresh toast or warm buns.
K8920 | Urn, Coffee, 2 Sections, 6 Gallons Each, Electric | 1 | VC | Electric twin coffee urn (without stand) with a total capacity of twelve (12) gallons, six (6) in each urn, adjustable by-pass and an automatic agitator. The unit is used in hospital food service operations for preparing large volumes of fresh coffee.
P3000 | Lavatory, Vitreous China, Straight Back | 2 | CC | Wall mounted, vitreous china lavatory (approximate bowl size 7"x15"x10") with: straight-front apron, straight or contoured back; faucet holes on 4" centers; gooseneck spout; wrist blade handles; and grid strainer. It shall be suitable for use in clinics, offices, washrooms or patient care areas.
R4650 | Ice Maker, Flaked, With Dispenser | 1 | CC | Ice maker dispenser approximately 71" H x 19"D x 24"W. This unit provides flaked ice and cooled water automatically. The unit has a daily capacity up to 650 pounds and a 100 pound capacity stainless steel storage compartment with water station. Unit may be free-standing or counter-mounted, automatic load ice dispenser for food service and healthcare use. The unit is used in healthcare institutions and various commercial food service operations for dispensing ice.
6 - CAFETERIA DINING AREA | 6 - CAFETERIA DINING AREA | 6 - CAFETERIA DINING AREA | 6 - CAFETERIA DINING AREA | 6 - CAFETERIA DINING AREA
1 - SV678 - Dining Area, VC Svc | 1 - SV678 - Dining Area, VC Svc | 1 - SV678 - Dining Area, VC Svc | 1 - SV678 - Dining Area, VC Svc | 1 - SV678 - Dining Area, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 3 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
F0210 | Chair, Side, Without Arms | 16 | VV | Upholstered side chair approximately 32" high X 19" wide X 23" deep with floor glides. Seat is non-tilting and without arms.
F0795 | Table, Dining | 4 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
7 - FOOD COURT SUPPORT AREA | 7 - FOOD COURT SUPPORT AREA | 7 - FOOD COURT SUPPORT AREA | 7 - FOOD COURT SUPPORT AREA | 7 - FOOD COURT SUPPORT AREA
1 - SV635 - Food Court Receiving, VC Svc | 1 - SV635 - Food Court Receiving, VC Svc | 1 - SV635 - Food Court Receiving, VC Svc | 1 - SV635 - Food Court Receiving, VC Svc | 1 - SV635 - Food Court Receiving, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F0775 | Table, Work, 2 Drawer | 1 | VV | Work table approximately 32" high X 72" wide X 30" deep with two drawers and a hard wood top.
F2700 | Reader, Bar Code, Hand Held, With Interface | 1 | VV | Hand held laser bar code reader with computer interface. Used for automated inventory, using bar code stickers / labels. Convenience outlet required at point of use.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1840 | Printer/Copier/Fax Combination | 1 | VV | Multifunctional printer, fax, scanner and copier (PFC) all-in-one machine.
M2020 | Cabinet, Storage, Safety, Built-In, Vented | 1 | CC | Safety storage cabinet. This unit is of double steel wall construction, with vented grounding attachment, raised leak proof door sill, and adjustable shelving. Equipped with two doors and three-point key lock. The construction meets standards set by OSHA and NFPA Code 30 requirements. Designed for storage of flammable type liquids. The cabinet fits into a laboratory casework configuration and its ventilation ports are in the back to leave the counterspace free. The cabinet requires ventilation ducting and an exhaust fan as part of the HVAC (heating, ventilation and air conditioning) system.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 1 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
M2105 | Pallet Lift, Hydraulic, Manual, 48" Pallet | 1 | VV | Hydraulic manual pallet equipped with floor lock and wheels for easy transport. Unit accommodates 48" pallets and is designed to handle all types of lifting tasks.
M2115 | Truck, Hand, 2 Wheel | 1 | VV | 2 wheel hand truck. Double handled with three supportive crossbars for heavy duty use. 800 pound weight capacity with two 8 or 10 inch wheels. For use in the warehouse.
M2125 | Stacker, Straddle, 127" Lift, 2000 lb Capacity | 1 | VV | Straddle stacker. Battery powered with 2000 pound lifting capacity. Unit lifts to heights up to 127". Equipped with a extra heavy duty hydraulic system. Unit has a built-in automatic battery charger. Electrical requirements are for the charger. Designed for pallet lifting.
M2130 | Truck, Hydraulic Lift, Electric | 1 | VV | Electric lift truck. Equipped with heavy duty hydraulic system and 12 V battery. For use within enclosed warehouse spaces. Adjustable 25" (approx) long forks. Complete with 10 amp charger. Counterweight must be used to help prevent tipping. NOTE: Not recommended for moving long distances or over uneven surfaces.
M7780 | Scanner, Document | 1 | VV | Scanner for recording printed material in an electronic format. Some models process both color and black-and-white images. Options include automatic paper feeders and transparency adapters. Most models require connection to a microcomputer for independent operation or use as part of a network. Larger models for high use applications which connect directly to a network without passing information through a microcomputer are available.
2 - SV639 - Non-Food Storage Room, VC Svc | 2 - SV639 - Non-Food Storage Room, VC Svc | 2 - SV639 - Non-Food Storage Room, VC Svc | 2 - SV639 - Non-Food Storage Room, VC Svc | 2 - SV639 - Non-Food Storage Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
3 - SV644 - Dry-Food Storage Room, VC Svc | 3 - SV644 - Dry-Food Storage Room, VC Svc | 3 - SV644 - Dry-Food Storage Room, VC Svc | 3 - SV644 - Dry-Food Storage Room, VC Svc | 3 - SV644 - Dry-Food Storage Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
4 - SV648 - Refrigerated / Frozen Food Storage Room, VC Svc | 4 - SV648 - Refrigerated / Frozen Food Storage Room, VC Svc | 4 - SV648 - Refrigerated / Frozen Food Storage Room, VC Svc | 4 - SV648 - Refrigerated / Frozen Food Storage Room, VC Svc | 4 - SV648 - Refrigerated / Frozen Food Storage Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
5 - SV653 - Food Preparation / Production, VC Svc | 5 - SV653 - Food Preparation / Production, VC Svc | 5 - SV653 - Food Preparation / Production, VC Svc | 5 - SV653 - Food Preparation / Production, VC Svc | 5 - SV653 - Food Preparation / Production, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
K1000 | Cabinet, Pastry, Mobile, Medium | 1 | VV | Mobile pastry cabinet. The cabinet is made from aluminum or stainless steel, is mounted on four swivel casters and holds thirty 18 inch by 26 inch full sheet pans. The cabinet can be equipped with push handles and bumpers (which will change the exterior dimensions). Smaller capacity units are available. For larger capacity units see JSN K1010. The cabinet is used for storage and transport of pastries in hotels, restaurants, hospitals, and commercial food service operations.
K1010 | Cabinet, Pastry, Mobile, Large | 1 | VV | Mobile pastry cabinet. This is a heavy duty, aluminum or stainless steel unit on four swivel casters which holds approximately forty 18 inch by 26 inch full sheet pans. The cabinet can be equipped with push handles and bumpers (which will change the exterior dimensions). See JSN K1000 for smaller capacity units. The cabinet is used for storage and transport of pastries in hotels, restaurants, hospitals, and commercial food service operations.
K1020 | Cabinet, Heated, Food, Mobile, Large | 1 | VV | Insulated food warming cabinet. The cabinet is made of aluminum or stainless steel and is mounted on four heavy duty casters. The interior of the cabinet has slide ledges on both sides spaced at 1-1/2 inch intervals. The unit holds thirty or more 18 inch by 26 inch full size pans or trays. Double door and non-insulated cabinets are available, the second door reduces the tray capacity by one. The cabinet can be equipped with push handles and bumpers (which will change the exterior dimensions). The cabinet is used in commercial and hospital kitchens for food storage prior to serving.
K1030 | Cabinet, Hot/Cold, Food, Mobile, Counter Height | 1 | VV | Half-height food holding cabinet (adjunct to cafeteria counter) which can heat stored food or keep it cold. The cabinet is made of corrosion resistant steel or a composite material and is fully insulated. It has a full length hinged door with lock, four lifting handles and channel type interior slides to hold seven or eight 12 inch wide, 20 inch long and 2-1/2 inch deep pans. The cabinet will also hold 4 inch and 6 inch deep pans. The cabinet has a heating unit, a cold holding plate or cooling unit and four 4 inch casters. For dual compartment cabinets, see JSN K6250. This unit is used to hold hot and cold food in commercial kitchens and hospitals.
K6250 | Cabinet, Food, Heated, Mbl, 2 Compart, Counter Ht | 1 | VV | Mobile electric hot food warmer and server with dual side by side compartments, temperature and moisture controls, full insulation and casters. The unit holds sixteen 2-1/2" x 12" x 20" pans. Models are also available with heating wells on the top of the cabinet. The unit is used in food service operations for keeping hot food warm in the kitchen prior to serving.
6 - SV657 - Dining Utensils Washing Room, VC Svc | 6 - SV657 - Dining Utensils Washing Room, VC Svc | 6 - SV657 - Dining Utensils Washing Room, VC Svc | 6 - SV657 - Dining Utensils Washing Room, VC Svc | 6 - SV657 - Dining Utensils Washing Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
F2020 | Can, Trash, 44 Gallon | 1 | VV | Forty four (44) gallon trash can, 32" high X 24" diameter, with lid. Used to collect and transport refuse from a point of origin to point of disposal (example: from soiled utility or a nursing unit to the trash compactor at housekeeping).
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
K1695 | Conveyor, Meal Tray Return | 1 | CC | Fixed conveyor for returning soiled meal trays from the main dining room to the tray processing area for cleaning. The database pricing is based on 24 feet of straight conveyor and 4 corner sections. This conveyor could lead to a second conveyor for tray processing or directly to a dishwasher with tray processing en route. Multiple power outlets will be required depending on the conveyors length.
K1800 | Sink/Drainboard, Dishwashing, Triple Bowl | 1 | CC | Triple bowl dishwashing sink with two drainboard counters. The sink is made of 16 gauge stainless steel, has three 20" x 20" sink bowls, has supporting legs and/or wall attachment points and is pre-drilled for faucet and drain connections. Custom sized units are available. The database price includes the cost of welding the disposal cone to the bottom of one sink. See JSN K2620 for disposal units and JSN K9320 for accessory spray arms. The database height dimension is to the top of the backsplash; see the specification sheets for the sink rim height. Larger and smaller units are available as well as units with fewer sink bowls. This unit is used to wash dishes in institutions and commercial kitchens.
K2020 | Dispenser, Detergent, Automatic | 1 | CC | Automatic detergent dispenser. Characteristics/components include supporting chemicals; detergent additive and rinse additive. This unit is used in conjunction with commercial dishwashers in hospitals and restaurants. Wall mounted unit, sized for the operation.
K2290 | Dishwasher, Conveyor, Steam, 2 Tank | 1 | CC | Automatic dishwasher which uses steam to heat the water in its two tanks. The unit is constructed of stainless steel and has a pre-wash, wash and rinse cycle. A 1/10 HP or larger electric motor powers the conveyor on which the dishracks ride. Three 1 HP or larger motors power the pre-wash, wash and rinse water circulating pumps. The unit collects and disposes of food dislodged from dishware, has curtains at each end and has large doors for inspection of the machine. The dishwasher's controls are mounted for ease of operator use. Optional blower/dryer units remove the last of the rinse water. Accessory condensing units may eliminate the need to vent the dishwasher to the atmosphere. Propane, natural gas and electrically heated models are also available. Because they vary widely from model to model, the dishwasher's final physical and utility configurations should be carefully reconciled with the facility drawings. The database height dimension reflects the clearance required to raise a machine door for servicing but not the clearance required beneath a ventilation hood. The machine listed in the database is each manufacturer's top line unit for the specified number of tanks.
K2490 | Dishwasher, Conveyor, Steam, 1 Tank | 1 | CC | Automatic dishwasher which uses steam to heat the water in the single tank. The unit is constructed of stainless steel and has a pre-wash, wash and rinse cycle. A 1/10 HP or larger electric motor powers the conveyor on which the dishracks ride. Two 1/2 HP or larger motors power the pre-wash and wash water circulating pumps. The unit collects and disposes of food dislodged from dishware, has curtains at each end and has large doors for inspection of the machine. The dishwasher's controls are mounted for ease of operator use. Optional blower/dryers remove the last of the rinse water. Accessory condensing units may eliminate the need to vent the dishwasher to the atmosphere. Propane, natural gas and electrically heated models are also available. Because they can vary widely from model to model, the dishwasher's final physical and utility configurations should be carefully reconciled with the facility drawings. The database height dimension reflects the clearance required to raise a machine door for servicing but not the clearance required beneath a ventilation hood. The machine listed in the database is each manufacturers top line unit for the specified number of tanks.
K2500 | Dishwasher, Conveyor, Steam, 3 Tank | 1 | CC | Automatic dishwasher which uses steam to heat the water in its 3 tanks. The unit is constructed of stainless steel and has a pre-wash, wash and rinse cycle. A 1/10 HP or larger electric motor powers the conveyor on which the dishracks ride. Three 1 HP or larger motors power the pre-wash, wash and rinse water circulating pumps. The unit collects and disposes of food dislodged from dishware, has curtains at each end and has large doors for inspection of the machine. The dishwashers controls are mounted for ease of operator use. Optional blower/dryer units remove the last of the rinse water. Accessory condensing units may eliminate the need to vent the dishwasher to the atmosphere. Propane, natural gas and electrically heated models are also available. The dishwasher's final physical and utility configuration should be carefully reconciled with the facility drawings. The database height dimension reflects the clearance required to raise a machine door for servicing but not the clearance required beneath a ventilation hood. The machine listed in the database is each manufacturers top line unit for the specified number of tanks.
K2620 | Disposal, Waste, Heavy Duty | 1 | CC | Food waste disposal. The unit has a 10 HP heavy duty motor, a heavy cast alloy body, a 3 inch outlet and a cast-in deflector in upper chamber that force feeds waste down onto a 15" rotor. This unit is used for disposing large quantities of the heavy waste material generated in the central areas of commercial and institutional food service operations.
K3420 | Hose, Retractable, Wall Mounted | 1 | CC | Retractable hose. The hose is wall mounted and has a stainless steel casing. The unit is used for washing and spraying down areas in commercial and institutional food service operations.
K6670 | Sink, Soak, Mobile, 1 Compartment | 1 | VV | Mobile soak sink. This is a single compartment stainless steel unit. The sink legs are fitted with 4 or 5 inch swivel casters. Two casters have foot locking brakes. The unit is used in kitchens for soaking flatware and other kitchen items.
K8200 | Rack, Wash, Pan/Utensil | 1 | VV | Pan and utensil wash rack. This unit can be a set of racks to accommodate a specific dishwashing unit. The racks are all stainless steel and can be used in large food service operations for cleaning pots and pans.
K9300 | Washer, Pressure w/Sanitizer | 1 | VC | Pressure washer for cleaning and sanitizing kitchen or other areas. This is a wall mounted, motor operated unit with a spray gun. The washer sprays a detergent solution on each item to be cleaned and then rinses them using a combination of water and high pressure that blasts away the loosened dirt and grease. The washer can be either a stand alone unit or part of a set of stations operating from a central control. See JSN K1350 for the mobile version of this unit. The unit is used for cleaning in commercial areas and institutions such as hospitals.
K9320 | Hose, Spray, Pre-Rinse | 1 | CC | Pre-rinse spray hose. The unit is a chrome plated wall or back deck mount design used to rinse dishes before racking in the dishwasher. It has a dual lever control which permits quick water temperature selection, large non-slip grip spray valve and spring loaded goose neck with storage hook.
K9450 | Washer, Tray, Automatic Stacking, Electric | 1 | CC | Tray washer. This unit has eye thermometers, vacuum breaker, motor starter and standard overload protection mounted in a stainless steel enclosure. The unit features a remote stop button on the unloading side of the unit. The continuously moving belt has fingers or racks for easily mounting trays for cleaning. The database height dimension includes the clearance to open and remove a door panel. These washers vary widely in length and capacity; consult the manufacturer's specifications for the specific model. This washer can be found in food service operations of hotels, restaurants and hospitals.
P1965 | Eyewash, Eye/Face, Sink Mounted, Hands-free | 1 | CC | A sink mounted eyewash station. The unit is designed for emergency eye and face rinsing from soft flow dual spray-heads. The Flow must be activated by the single momentary action and remain on until terminated.
7 - SV663 - Pot Washing Room, VC Svc | 7 - SV663 - Pot Washing Room, VC Svc | 7 - SV663 - Pot Washing Room, VC Svc | 7 - SV663 - Pot Washing Room, VC Svc | 7 - SV663 - Pot Washing Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
K1800 | Sink/Drainboard, Dishwashing, Triple Bowl | 1 | CC | Triple bowl dishwashing sink with two drainboard counters. The sink is made of 16 gauge stainless steel, has three 20" x 20" sink bowls, has supporting legs and/or wall attachment points and is pre-drilled for faucet and drain connections. Custom sized units are available. The database price includes the cost of welding the disposal cone to the bottom of one sink. See JSN K2620 for disposal units and JSN K9320 for accessory spray arms. The database height dimension is to the top of the backsplash; see the specification sheets for the sink rim height. Larger and smaller units are available as well as units with fewer sink bowls. This unit is used to wash dishes in institutions and commercial kitchens.
K1860 | Sink, Pot, Triple Compartment, w/Drainboards | 1 | CC | Pot washing and scraping counter. This unit has three sink compartments and is constructed of stainless steel. The dimensions should be specified as required. See JSN K2620 for disposers and K9320 for pre-rinse hoses. Some models are built to accommodate two faucets. See related dishwashing and scullery triple compartment sinks at JSNs K1800 and K6660. This unit is used to wash pots in food service operations of hospitals, hotels and restaurants.
K2020 | Dispenser, Detergent, Automatic | 1 | CC | Automatic detergent dispenser. Characteristics/components include supporting chemicals; detergent additive and rinse additive. This unit is used in conjunction with commercial dishwashers in hospitals and restaurants. Wall mounted unit, sized for the operation.
K2620 | Disposal, Waste, Heavy Duty | 1 | CC | Food waste disposal. The unit has a 10 HP heavy duty motor, a heavy cast alloy body, a 3 inch outlet and a cast-in deflector in upper chamber that force feeds waste down onto a 15" rotor. This unit is used for disposing large quantities of the heavy waste material generated in the central areas of commercial and institutional food service operations.
K3420 | Hose, Retractable, Wall Mounted | 1 | CC | Retractable hose. The hose is wall mounted and has a stainless steel casing. The unit is used for washing and spraying down areas in commercial and institutional food service operations.
K9300 | Washer, Pressure w/Sanitizer | 1 | VC | Pressure washer for cleaning and sanitizing kitchen or other areas. This is a wall mounted, motor operated unit with a spray gun. The washer sprays a detergent solution on each item to be cleaned and then rinses them using a combination of water and high pressure that blasts away the loosened dirt and grease. The washer can be either a stand alone unit or part of a set of stations operating from a central control. See JSN K1350 for the mobile version of this unit. The unit is used for cleaning in commercial areas and institutions such as hospitals.
K9320 | Hose, Spray, Pre-Rinse | 1 | CC | Pre-rinse spray hose. The unit is a chrome plated wall or back deck mount design used to rinse dishes before racking in the dishwasher. It has a dual lever control which permits quick water temperature selection, large non-slip grip spray valve and spring loaded goose neck with storage hook.
K9760 | Washer, Pot/Pan, Electric | 1 | CC | Pot and pan washer. This unit's wash and rinse cycles pump water and cleaning solution under pressure through its upper and lower spray arms. The washer cleans pots, large preparation bowls and kitchen appliance parts. The unit drains after each cycle. The database information is for a straight pass through unit with an electric tank heater. Corner units and units with chemical or low temperature sterilization are available. The database physical specifications include the clearance needed to remove the unit's vertical doors and the extra footprint of exterior mounted control boxes and pipe connections. This unit is used in hospitals and large food service areas.
K9770 | Washer, Pot/Pan, Steam And Electric | 1 | CC | Pot and pan washer with a steam heated tank. The washer is made of stainless steel and has a 5 HP wash pump motor, hot water spray rinse, sanitizing hot fresh water rinse, steam or electric water temperature booster, exhaust fan and basket screens. See K8200 for the washing racks for this machine.
P1965 | Eyewash, Eye/Face, Sink Mounted, Hands-free | 1 | CC | A sink mounted eyewash station. The unit is designed for emergency eye and face rinsing from soft flow dual spray-heads. The Flow must be activated by the single momentary action and remain on until terminated.
P2100 | Disposal, Garbage, 2 HP Motor | 1 | CC | Garbage disposal. A two (2) horsepower versatile waste disposal unit suitable for facilities where 500 to 1000 meals are prepared and served daily. Requires eight (8) gallons per minute water flow rate, and outlet flange tapped for a two (2) inch pipe. Unit will have a manual reversing switch and shall comply with MIL SPEC No. MIL-G-15840. Multiple electrical configurations are available.
11 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 11 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 11 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 11 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 11 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5107 | Dispenser, Glove, Surgical/Examination, Wall Mntd | 1 | VV | Examination three (Small Medium, Large) glove dispenser box for wall mounting. Fabricated of either cold rolled steel with a white baked enamel finish, plastic or acrylic. Hardware not included, Option 3 powder coated steel.
A5135 | Shelf, Utility W/ Mop/Broom Holders, SS, Surf Mntd | 1 | CC | A surface mounted, satin finish stainless steel, utility shelf with a maximum of 6 mop/broom holders and 5 rag hooks. Utility shelf features: 8" deep shelf; mounting brackets welded to shelf; spring activated rubber cam holders; and drying rod. Unit is available in various widths 30" (minimum, 3 holders and 2 hooks) to 48" (maximum, 6 holders and 5 hooks). For use in janitor closets. Pricing based on a 36" width.
F0500 | Cart, Janitor's | 1 | VV | Janitors cart, 38" high X 66" wide X 20" deep with 25 gallon heavy duty collection bag. Accommodations for locking vault and janitorial support items (broom, dust pan, chemicals, mop and mop bucket; not included).
F0505 | Bucket, Mop, With Wringer, 26 Quart | 1 | VV | Mobile mop bucket / wringer combination, approximately 35" H x 17" W x 22" D with four 2" casters. Total capacity is 26 quarts. Unit used for general hard surface floor maintenance.
P2000 | Eyewash, Wall Mounted, Hands-Free | 1 | CC | Wall mounted emergency eye wash station. The flow of water from the unit is activated by hand. Upon initiation of water flow the unit will operate hands free to provide streams of water to clear foreign particles or dilute caustic liquids from the eyes in emergency situations. Used in laboratories and areas of the hospital where employees are subject to foreign bodies or liquid material to the eyes.
P2451 | Valve, Mixing, Thermostatic, Eyewash | 1 | CC | Emergency tempering valve thermostatically mixes hot and cold water to provide a safe fluid supply for a single emergency eye/face wash with a flow rate of 10 gpm (38.8L)
P4700 | Sink, Mop, Molded Stone | 1 | CC | Mop service sink approximately 10"H x 36"W x 24"D. Also called a mop service basin and a mop receptor. Unit is made of molded stone and is a one piece item. It shall include a service faucet hose, hose bracket and mop hanger. Used in utility rooms for cleaning mops and floor cleaning equipment.
8 - RETAIL STORE AREA | 8 - RETAIL STORE AREA | 8 - RETAIL STORE AREA | 8 - RETAIL STORE AREA | 8 - RETAIL STORE AREA
3 - SV601 - Retail Store Storage Room, VC Svc | 3 - SV601 - Retail Store Storage Room, VC Svc | 3 - SV601 - Retail Store Storage Room, VC Svc | 3 - SV601 - Retail Store Storage Room, VC Svc | 3 - SV601 - Retail Store Storage Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
4 - SV605 - Retail Store Receiving, VC Svc | 4 - SV605 - Retail Store Receiving, VC Svc | 4 - SV605 - Retail Store Receiving, VC Svc | 4 - SV605 - Retail Store Receiving, VC Svc | 4 - SV605 - Retail Store Receiving, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F0775 | Table, Work, 2 Drawer | 1 | VV | Work table approximately 32" high X 72" wide X 30" deep with two drawers and a hard wood top.
F2700 | Reader, Bar Code, Hand Held, With Interface | 1 | VV | Hand held laser bar code reader with computer interface. Used for automated inventory, using bar code stickers / labels. Convenience outlet required at point of use.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1840 | Printer/Copier/Fax Combination | 1 | VV | Multifunctional printer, fax, scanner and copier (PFC) all-in-one machine.
M2020 | Cabinet, Storage, Safety, Built-In, Vented | 1 | CC | Safety storage cabinet. This unit is of double steel wall construction, with vented grounding attachment, raised leak proof door sill, and adjustable shelving. Equipped with two doors and three-point key lock. The construction meets standards set by OSHA and NFPA Code 30 requirements. Designed for storage of flammable type liquids. The cabinet fits into a laboratory casework configuration and its ventilation ports are in the back to leave the counterspace free. The cabinet requires ventilation ducting and an exhaust fan as part of the HVAC (heating, ventilation and air conditioning) system.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 1 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
M2105 | Pallet Lift, Hydraulic, Manual, 48" Pallet | 1 | VV | Hydraulic manual pallet equipped with floor lock and wheels for easy transport. Unit accommodates 48" pallets and is designed to handle all types of lifting tasks.
M2115 | Truck, Hand, 2 Wheel | 1 | VV | 2 wheel hand truck. Double handled with three supportive crossbars for heavy duty use. 800 pound weight capacity with two 8 or 10 inch wheels. For use in the warehouse.
M2125 | Stacker, Straddle, 127" Lift, 2000 lb Capacity | 1 | VV | Straddle stacker. Battery powered with 2000 pound lifting capacity. Unit lifts to heights up to 127". Equipped with a extra heavy duty hydraulic system. Unit has a built-in automatic battery charger. Electrical requirements are for the charger. Designed for pallet lifting.
M2130 | Truck, Hydraulic Lift, Electric | 1 | VV | Electric lift truck. Equipped with heavy duty hydraulic system and 12 V battery. For use within enclosed warehouse spaces. Adjustable 25" (approx) long forks. Complete with 10 amp charger. Counterweight must be used to help prevent tipping. NOTE: Not recommended for moving long distances or over uneven surfaces.
M7780 | Scanner, Document | 1 | VV | Scanner for recording printed material in an electronic format. Some models process both color and black-and-white images. Options include automatic paper feeders and transparency adapters. Most models require connection to a microcomputer for independent operation or use as part of a network. Larger models for high use applications which connect directly to a network without passing information through a microcomputer are available.
5 - SV609 - Retail Store Remote Receiving Storage Room, Canteen | 5 - SV609 - Retail Store Remote Receiving Storage Room, Canteen | 5 - SV609 - Retail Store Remote Receiving Storage Room, Canteen | 5 - SV609 - Retail Store Remote Receiving Storage Room, Canteen | 5 - SV609 - Retail Store Remote Receiving Storage Room, Canteen
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
6 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 6 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 6 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 6 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt | 6 - SB244 - Housekeeping Aides Closet (HAC), Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5107 | Dispenser, Glove, Surgical/Examination, Wall Mntd | 1 | VV | Examination three (Small Medium, Large) glove dispenser box for wall mounting. Fabricated of either cold rolled steel with a white baked enamel finish, plastic or acrylic. Hardware not included, Option 3 powder coated steel.
A5135 | Shelf, Utility W/ Mop/Broom Holders, SS, Surf Mntd | 1 | CC | A surface mounted, satin finish stainless steel, utility shelf with a maximum of 6 mop/broom holders and 5 rag hooks. Utility shelf features: 8" deep shelf; mounting brackets welded to shelf; spring activated rubber cam holders; and drying rod. Unit is available in various widths 30" (minimum, 3 holders and 2 hooks) to 48" (maximum, 6 holders and 5 hooks). For use in janitor closets. Pricing based on a 36" width.
F0500 | Cart, Janitor's | 1 | VV | Janitors cart, 38" high X 66" wide X 20" deep with 25 gallon heavy duty collection bag. Accommodations for locking vault and janitorial support items (broom, dust pan, chemicals, mop and mop bucket; not included).
F0505 | Bucket, Mop, With Wringer, 26 Quart | 1 | VV | Mobile mop bucket / wringer combination, approximately 35" H x 17" W x 22" D with four 2" casters. Total capacity is 26 quarts. Unit used for general hard surface floor maintenance.
P2000 | Eyewash, Wall Mounted, Hands-Free | 1 | CC | Wall mounted emergency eye wash station. The flow of water from the unit is activated by hand. Upon initiation of water flow the unit will operate hands free to provide streams of water to clear foreign particles or dilute caustic liquids from the eyes in emergency situations. Used in laboratories and areas of the hospital where employees are subject to foreign bodies or liquid material to the eyes.
P2451 | Valve, Mixing, Thermostatic, Eyewash | 1 | CC | Emergency tempering valve thermostatically mixes hot and cold water to provide a safe fluid supply for a single emergency eye/face wash with a flow rate of 10 gpm (38.8L)
P4700 | Sink, Mop, Molded Stone | 1 | CC | Mop service sink approximately 10"H x 36"W x 24"D. Also called a mop service basin and a mop receptor. Unit is made of molded stone and is a one piece item. It shall include a service faucet hose, hose bracket and mop hanger. Used in utility rooms for cleaning mops and floor cleaning equipment.
9 - RETAIL CONCESSION AREA | 9 - RETAIL CONCESSION AREA | 9 - RETAIL CONCESSION AREA | 9 - RETAIL CONCESSION AREA | 9 - RETAIL CONCESSION AREA
1 - SV623 - Retail Store Concessions Display / Storage, VC Svc | 1 - SV623 - Retail Store Concessions Display / Storage, VC Svc | 1 - SV623 - Retail Store Concessions Display / Storage, VC Svc | 1 - SV623 - Retail Store Concessions Display / Storage, VC Svc | 1 - SV623 - Retail Store Concessions Display / Storage, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
10 - STAFF AND ADMINISTRATIVE AREA | 10 - STAFF AND ADMINISTRATIVE AREA | 10 - STAFF AND ADMINISTRATIVE AREA | 10 - STAFF AND ADMINISTRATIVE AREA | 10 - STAFF AND ADMINISTRATIVE AREA
1 - SS204 - VC Service Chief Office, Stff Sprt | 1 - SS204 - VC Service Chief Office, Stff Sprt | 1 - SS204 - VC Service Chief Office, Stff Sprt | 1 - SS204 - VC Service Chief Office, Stff Sprt | 1 - SS204 - VC Service Chief Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - SS204 - VC Food Section Assistant Chief Office, Stff Sprt | 2 - SS204 - VC Food Section Assistant Chief Office, Stff Sprt | 2 - SS204 - VC Food Section Assistant Chief Office, Stff Sprt | 2 - SS204 - VC Food Section Assistant Chief Office, Stff Sprt | 2 - SS204 - VC Food Section Assistant Chief Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
3 - SS204 - VC Retail Assistant Chief Office, Stff Sprt | 3 - SS204 - VC Retail Assistant Chief Office, Stff Sprt | 3 - SS204 - VC Retail Assistant Chief Office, Stff Sprt | 3 - SS204 - VC Retail Assistant Chief Office, Stff Sprt | 3 - SS204 - VC Retail Assistant Chief Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - SV696 - Secure Money Handling Room, VC Svc | 4 - SV696 - Secure Money Handling Room, VC Svc | 4 - SV696 - Secure Money Handling Room, VC Svc | 4 - SV696 - Secure Money Handling Room, VC Svc | 4 - SV696 - Secure Money Handling Room, VC Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1011 | Telephone, Desk, 1 Line | 1 | VV | Telephone, desk, 1 line.
A6035 | Repository, Night, With Safe | 1 | CC | Constructed of high tensile steel body and jam designed to maximize protection against pry attack. Top or front load depository features a large hopper made of formed heavy duty steel, handle activated and designed for smooth money drop operation and large package capacity. Deposit drawer features a large "fish" resistant pull out drawer depositing directly into standard interior locker.
A6105 | Counter, Reception Control, Built-In | 1 | CC | Counter, control, inpatient, built-in. Consists of two 18” wide base cabinets with two drawers and file drawer, two 30” wide pencil drawers and two 18” wide base cabinet with four drawers. The countertop shall be a composition of wood particle core with plastic laminate surface having a hard smooth surface finish, standard thickness of 1” and a 4” butt backsplash/curb. Pricing based on a 30" depth.
F0230 | Chair, Drafting, Rotary | 1 | VV | Drafting chair approximately 47" high X 20" wide X 20" deep with rotary stool and a 5 (five) star base with casters. Padded seat and back. Foot ring adjusts with chair.
F0425 | Cabinet, Filing, Security, Full Height | 1 | VV | Class 6 full height security filing cabinet, 58" high x 21" wide x 28" deep with five (5) drawers. Used for storage of classified or controlled materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3100 | Safe, Collection Agent | 1 | VV | Collection agent safe. Unit consists of thick door equipped with combination lock. All steel welded construction. For special document and record storage.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1805 | Copier, Desk Top | 1 | VV | Desk top copier. Copier consists of two tray paper supply with clip tray, sort indicator, two page copy indicator, automatic paper selection and frame eraser with zoom capabilities. For use where low volume reproduction is required.
M1825 | Printer, Computer | 1 | VV | High resolution computer printer with a variety of type styles and sheet/envelope feeder trays. Database information reflects network ready, medium duty office style laser printers. Other types of printers (bubble jet, dot matrix, line or plotter) as well as light or heavy use capabilities are available.
5 - SS218 - Canteen Clerk Workstation, Stff Sprt | 5 - SS218 - Canteen Clerk Workstation, Stff Sprt | 5 - SS218 - Canteen Clerk Workstation, Stff Sprt | 5 - SS218 - Canteen Clerk Workstation, Stff Sprt | 5 - SS218 - Canteen Clerk Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
6 - SS262 - Staff Breakroom, Stff Sprt | 6 - SS262 - Staff Breakroom, Stff Sprt | 6 - SS262 - Staff Breakroom, Stff Sprt | 6 - SS262 - Staff Breakroom, Stff Sprt | 6 - SS262 - Staff Breakroom, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5210 | Bracket, Television, Wall Mounted, w/Adjust Arm | 1 | VV | Wall mounted television bracket with adjustable arm. Consists of movable arm with minimum 120 degree swivel. Designed for holding wall mounted, flat panel television units in patient rooms.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
C02C0 | Cabinet, U/C/B, 1 Shelf, 1 Drawer, 1 DO, 36x24x22 | 1 | CC | Standing height under counter base cabinet with an adjustable shelf and a full width drawer above a solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings). Also referred to as a combination cabinet or a drawer and cupboard cabinet. For general purpose use throughout the facility.
C02D0 | Cabinet, U/C/B, 4 Drawer, 36x24x22 | 1 | CC | Standing height under counter base cabinet with four full width drawers of equal height. Also referred to as a drawer cabinet. For general purpose use throughout the facility.
C04P0 | Cabinet, Sink, U/C/B, 2 Door, 36x36x22 | 1 | CC | Standing height under counter base sink cabinet with solid hinged doors. Also referred to as a double-door sink cabinet. For general purpose use throughout the facility where a sink is to be used. Coordinate actual clear cabinet dimension with the actual outside dimension of sink that is specified to ensure that they are compatible.
CB020 | Cabinet, W/H, 2 Shelf, 1 DO, Sloping Top, 38x24x13 | 2 | CC | Wall hung cabinet with two adjustable shelves, solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings), and sloping top. Also referred to as a solid hinged single door case. For general purpose use throughout the facility.
CS010 | Sink, SS, Single Compartment, 7.5x12x12 ID | 1 | CC | Single compartment stainless steel sink, drop-in, self-rimming, ledge-type, connected with a drain and provided with a mixing faucet. It shall also be provided with pre-punched fixture holes on 4" center, integral back ledge to accommodate deck-mounted fixtures, brushed/polished interior and top surfaces, and sound deadened. Recommended for use in suspended or U/C/B sink cabinets having a high plastic laminate or Chemsurf laminate countertop/work surface. For general purpose use throughout the facility.
CT020 | Countertop, Solid Surface | 7 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
F0225 | Chair, Dining Room | 4 | VV | Dining room chair with glides. Chair has straight legs with cushioned cloth or vinyl seat.
F0795 | Table, Dining | 1 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F3065 | Whiteboard/Bulletin Board, Combination | 1 | VV | A combination whiteboard and bulletin board, half LCS and half cork. Available with either aluminum or wood frame. It can be used in patient rooms or in any appropriate space in the facility.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
K1552 | Brewer, Coffee, Auto, Elect, 3 Burner, Front/Back | 1 | VV | Space saving front to back automatic coffee maker. This unit includes a heating tank, connection for a cold water supply, decanter service with three burners, funnel and a water flow controller. The unit is used for semi-automatic coffee brewing in cafeterias and commercial institutions. The unit automatically shuts off the water flow when enough has passed through to fill the pot. The unit is normally provided plumbed with a hot water faucet to the side for making other hot drinks (tea, cider, cocoa, etc.). The database height dimension does not include the clearance for coffee decanters warming on the upper burners.
K4665 | Oven, Microwave, Consumer | 1 | VV | Counter mounted microwave oven for average duty use. The exterior cabinet can be metal or heavy duty impact resistant plastic. The oven delivers instant energy for rapid heating, defrosting or prime cooking. The oven has touch pad controls, digital timer, power level selector and preprogrammed selectors for commonly cooked items. This oven is commonly found in staff lounges.
M0515 | Television, HD, 40" Class | 1 | VV | High definition (HDTV) multimedia flat panel LED 40" class display television. The TV will have a 16:9 wide screen aspect ratio, minimum of 1920 x 1080 display resolution, digital tuner, minimum refresh rate of 60Hz, minimum of two HDMI ports and 1 USB port ENERGY STAR certified.
R7250 | Refrigerator/Freezer, 20 Cubic Feet | 1 | VV | Refrigerator/freezer unit. This type unit includes a food saver system that helps keep food fresher. It also includes roll out wheels and is equipped for an optional automatic icemaker. This unit is of commercial or residential design and use.
7 - SS232 - Female Staff Locker Room, Stff Sprt | 7 - SS232 - Female Staff Locker Room, Stff Sprt | 7 - SS232 - Female Staff Locker Room, Stff Sprt | 7 - SS232 - Female Staff Locker Room, Stff Sprt | 7 - SS232 - Female Staff Locker Room, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1040 | Locker, 2 Person, Side by Side, 72x15x18 | 8 | VV | Two person side by side locker. Steel unit. It consists of side by side compartments for hanging clothes and over/under compartments for hats, etc. Used for personal belongings storage.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5020 | Bench, Locker Room, Floor Mounted | 1 | CC | Locker room bench. Floor mounting -1-1/4" thick. Benches are sanded smooth with two coats of moisture-resistant sealer to ensure a protective, satin gloss surface, and mounted on strong steel pedestal anchored to the floor. Over all height of 18" includes pedestal. Size as required.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
8 - SS241 - Male Staff Locker Room, Staff Sprt | 8 - SS241 - Male Staff Locker Room, Staff Sprt | 8 - SS241 - Male Staff Locker Room, Staff Sprt | 8 - SS241 - Male Staff Locker Room, Staff Sprt | 8 - SS241 - Male Staff Locker Room, Staff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1030 | Locker, 2 Person, Over/Under | 8 | VV | Two person locker, double tier, 72Hx12Wx18D. This unit includes hooks for coats and hats. Door equipped with safety guard handles. Designed for storage of coats, hats, and other personal belongings. Other width and depths are available.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5020 | Bench, Locker Room, Floor Mounted | 1 | CC | Locker room bench. Floor mounting -1-1/4" thick. Benches are sanded smooth with two coats of moisture-resistant sealer to ensure a protective, satin gloss surface, and mounted on strong steel pedestal anchored to the floor. Over all height of 18" includes pedestal. Size as required.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
9 - SB191 - Universal Staff Toilet, Staff Sprt | 9 - SB191 - Universal Staff Toilet, Staff Sprt | 9 - SB191 - Universal Staff Toilet, Staff Sprt | 9 - SB191 - Universal Staff Toilet, Staff Sprt | 9 - SB191 - Universal Staff Toilet, Staff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3200 | Lavatory, Vitreous China, Slab Type w/Sens Op Fauc | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximately 7 x 15 x 10 inches) with faucet holes on 4 inch centers; electronic sensor operated, goose neck spout and grid strainer. It shall be suitable for use in clinics, offices and patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.